Proposer shall respond in the spaces on this and the following pages (add additional sheets of paper as necessary) to the particular issues and questions posed in this Form. Complete written answers are required.

As discussed in the RFP, the successful proposer will be required to provide a location where Proposer will provide for the installation of, and, subsequent to commencement of operations, monitoring of CRRA’s RTU display, and/or similar replacement and/or upgraded electronic dispatch communication equipment. It is expected that this will involve continuous on-going monitoring of the RTU display, installation of a dedicated phone line for each unit’s dispatching and communications with ISO-NE or other applicable party, and implementation of all required corresponding communications systems so that the units can be called into operation by the individuals monitoring the RTU when and if called by ISO-NE or applicable party. Describe the location where Proposer recommends the RTU be installed and identify the advantages of the location, current operations and activities at that site, and similar factors that support the viability and ease with which Proposer can accomplish these tasks. Further, discuss how the location complies with requirements of FERC and NERC and any other entity with rules and/or procedures relating to the installation, maintenance, and operation of the RTU and related systems. Finally, if this location is not under the direct control and management of Proposer, please describe in detail how you plan to implement this solution:

Describe how your firm proposes to manage the maintenance and major repairs/rehabilitation of the Units from time-to-time. In particular, discuss the role of on-site staff, off-site staff of your firm, and use of subcontractors, describing the kinds of work anticipate to be performed by each.

# Text boxes

ISSUES AND QUESTIONS TO BE ADDRESSED FORM