INSTRUCTIONS:  Complete, written answers must be provided to each of the following issues/questions and each answer must begin on a new page.

- In the Firm Background And Experience Form (RFP Exhibit 5) or an attachment thereto, please specify:

  - Previous experience developing, designing and constructing solar photovoltaic projects, including a minimum of three (3) completed SGF projects within the Northeastern United States, totaling 5 MW DC;

  - Experience and completed projects pertaining to solar on all types of lands, including closed landfill SGF development;

  - General expertise and expertise involving construction projects of $1,000,000 or more;

  - Past experience in public-private joint projects;

  - Firms participating on the Proposer SGF development team complete with SGF qualifications and experience;

  - Demonstrate knowledge of civil and electrical engineering requirements, the applicable permitting processes and relationships with the appropriate agencies associated with SGF development, including solar on closed landfills; and

  - Expertise involving testing, operation, maintenance and decommissioning SGF installations.

- On a separate page, titled “[insert name of proposer] Financial Information,” provide Proposer's financial plan and financial ability to execute project. This plan will include proof of viable financing and commitment from the financier identified on the SGF development team. The Proposer will provide a summary of the project financier expertise and previous experience with SGF development projects.

- Provide detailed explanation of the proposed project approach and provide the CRRA an understanding of SGF development schedule, which includes financing and contracting, due diligence, permitting, engineering, construction, operation and maintenance, and decommissioning.

- On a separate page, titled “Organization Chart” provide an organization chart illustrating the Proposer’s overall team management structure, which will include specific project personnel responsible for financing, development, engineering, procurement, construction and operation.

- Utilizing the Personnel Background and Experience Form (RFP Exhibit 6), detail specific qualifications and experience by the Proposer for key personnel identified on the SGF development team.

- On a separate page, titled “Schematics,” provide schematics illustrating the proposed site plan on a conceptual one-line electrical diagram.

- Utilizing the SGF Equipment Form (RFP Exhibit 4) provide information regarding the equipment proposed for use in your proposal as well as warranty information for that equipment.

- Proposer is to submit an anticipated schedule for SGF development utilizing Day 0 as the execution date in addition to completion of the following:

Contract Signing by selected Proposer:	0 days

Regulatory Approvals and Permitting Period:	0+_____ days

SGF Engineering and Interconnection:		0+_____ days

Equipment and Contractor Procurement Period: 	0+_____ days

SGF Construction:				      	0+_____ days

Target SGF Commercial Operation Period:	     	0+_____ days

- On a separate page, titled “Interconnection Summary,” include a summary, anticipated schedule and approval pathway for interconnection of the SGF to either UI or C&LP electrical infrastructure. The selected Proposer will finalize an electrical one-line diagram from the proposed location of the solar arrays to the point of interconnection to be utilized by the Proposer to submit an interconnection application with the appropriate utility.

- On a separate page, titled “SGF Footprint” utilizing the information detailed in Section 3 of the RFP Package Documents and the site tours, specify the general size and “footprint” of the SGF.  CRRA expects to negotiate the final details of the exact size and footprint of the SGF during final contract negotiations.

- On a separate page, titled “Operation and Maintenance Plan,” Provide an operation and maintenance plan to summarize the ongoing activities required to maintain SGF operations and consistent energy production. The plan will also address measures to maintain the integrity of the landfill capping components during the development, construction, operation and decommissioning phases of the SGF project. The plan will also include details pertaining to the required security measures needed to maintain the SGF integrity, including any proposed surveillance equipment and fencing. The operation and maintenance plan will address all proposed measures necessary for consistent SGF energy production throughout the entire term of the agreement.

- In the unlikely event, the Ellington or Shelton Landfills require repair or replacement during the term of the Agreement, the selected Proposer shall temporarily remove all or part of the installed SGF. During landfill repair and replacement, the removed components may be temporarily stored off-site. During such temporary storage, the selected Proposer shall be responsible for the security of the SGF and shall store the equipment in a manner that prevents access. The Proposer shall include in its non-price submission a proposal for the cost allocation, which may potentially occur from removing all or part of the SGF from production during landfill cap restoration activities. To the extent that damage occurs to the property through acts or omissions by the selected Proposer, the selected Proposer shall indemnify the CRRA for any and all resulting administrative penalties or fines imposed on the CRRA, and all costs incurred in the restoration of the cap in compliance with CTDEEP requirements, or other governmental authority having jurisdiction over the maintenance of the closed landfills.

- Virtual net metering is not currently available in Connecticut.  However, if virtual net metering becomes available during the term of any Agreement that results from this RFP, CRRA may be interested in entering into a virtual net meter power purchase agreement with the successful Contractor to purchase the power generated by the SGFs on the CRRA landfills.  On a separate page, titled “Virtual Net Metering Option” please contemplate how that would affect your proposal, including any resulting Agreement, and provide a proposed pricing structure for such a virtual net metering PPA.

- Provide a description of the proposed SGF project fate following the operation and maintenance phase.  Include an initial decommissioning plan, to ensure that the SGF will be decommissioned following the term of the Agreement as per Section 2.1.5 therein.

- The Proposer will demonstrate the team performance record involving SGF development and shall provide a minimum of three (3) references from contracting officers for SGF projects with a similar magnitude, layout and complexity, totaling a minimum of 5 MW. A brief project description will be provided by the Proposer along with full contact information for each reference. The Proposer will state whether or not the given reference is currently employed with the firm which completed the SGF project

# Text boxes

ISSUES AND QUESTIONS TO BE ADDRESSED FORM